## NPDES Dup
Data Table 8-3, NPDES Duplicate Sample Results
EML = Environmental Monitoring Laboratory, SES = Shealy Environmental Services | [7 empty] | ♦ not calculated due to less than value
1. Field Blank not Outfall result
2. Out of holding time by 3.3 hours - result estimated
Sample Date | NPDES Site | Laboratory | Parameter | Units | Outfall Value | Duplicate Value | Relative % Difference | Relative Percent Difference (< 20 %)
2012-01-09 | H-16 | SES | Biochemical Oxygen Demand | mg/L | 2.1 | <2 | ♦ | ♦
2012-01-09 | H-16 | SES | Total Suspended Solids | mg/L | <1 | <1 | ♦ | ♦
2012-02-07 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2 | <2 | ♦ | ♦
2012-02-07 | A-11 | EML | Total Suspended Solids | mg/L | <1 | <1 | ♦ | ♦
2012-02-15 | H-12 | EML | Copper | mg/L | <0.0050 | <0.0050 | ♦ | ♦
2012-02-15 | H-12 | EML | Zinc | mg/L | 0.0189 | 0.0182 | 3.7736 | Yes
2012-03-06 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2 | <2 | ♦ | ♦
2012-03-06 | A-01 | EML | Iron | mg/L | 0.196 | 0.1962 | 0.10199 | Yes
2012-03-05 | A-01 | SES | Oil & Grease | mg/L | <2.7 | <2.6 | ♦ | ♦
2012-03-06 | A-01 | EML | Total Suspended Solids | mg/L | 2 | 2 | 0 | Yes
2012-03-06 | A-1A | SES | Trichloroethylene | µg/L | <2 | <2 | ♦ | ♦
2012-03-06 | A-1A | SES | Tetrachloroethylene | µg/L | <2 | <2 | ♦ | ♦
2012-03-06 | M-05 | SES | Trichloroethylene | µg/L | <2 | <2 | ♦ | ♦
2012-03-06 | M-05 | SES | Tetrachloroethylene | µg/L | <2 | <2 | ♦ | ♦
2012-03-13 | A-11 | SES | Low Level Mercury | ng/L | 17.8 | 16 | 10.6509 | Yes
2012-04-26 | A-11 | SES | Low Level Mercury Blank | ng/L | <0.5001 | <0.500 | ♦ | ♦
2012-04-09 | H-16 | SES | Cadmium | mg/L | <0.0001 | <0.0001 | ♦ | ♦
2012-04-09 | H-16 | SES | Chromium | mg/L | <0.0050 | <0.0050 | ♦ | ♦
2012-04-09 | H-16 | SES | Copper | mg/L | <0.0050 | <0.0050 | ♦ | ♦
2012-04-09 | H-16 | SES | Lead | mg/L | <0.0020 | <0.0020 | ♦ | ♦
2012-04-09 | H-16 | SES | Nickel | mg/L | <0.0100 | <0.0100 | ♦ | ♦
2012-04-09 | H-16 | SES | Silver | mg/L | <0.0050 | <0.0050 | ♦ | ♦
2012-04-09 | H-16 | SES | Zinc | mg/L | 0.0053 | 0.0057 | 7.2727 | Yes
2012-04-09 | H-16 | SES | Mercury | mg/L | <0.0001 | <0.0001 | ♦ | ♦
2012-05-09 | A-1A | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2012-05-09 | A-1A | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2012-05-22 | F-08 | EML | Lead | mg/L | < 0.0020 | < 0.0020 | ♦ | ♦
2012-05-22 | F-08 | EML | Zinc | mg/L | 0.1052 | 0.1055 | 0.28477 | Yes
2012-06-18 | M-05 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2012-06-18 | M-05 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2012-06-19 | A-11 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2012-06-19 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2012-06-20 | H-12 | EML | Copper | mg/L | 0.0397 | 0.04 | 0.75282 | Yes
2012-06-20 | H-12 | EML | Zinc | mg/L | 0.1075 | 0.1094 | 1.752 | Yes
2012-06-21 | H-07 | EML | Total Suspended Solids | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2012-06-21 | K-18 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2012-06-21 | L-07 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2012-07-09 | A-01 | SES | Oil & Grease | mg/L | <2.8 | <2.6 | ♦ | ♦
2012-10-11 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2012-10-11 | A-01 | EML | Iron | mg/L | 0.1928 | 0.1869 | 3.1077 | Yes
2012-10-11 | A-01 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2012-07-10 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2012-07-10 | A-11 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2012-08-13 | A-01 | SES | Oil & Grease | mg/L | <2.3 | <2.4 | ♦ | ♦
2012-08-14 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2012-08-14 | A-01 | EML | Iron | mg/L | 0.5171 | 0.5361 | 3.6081 | Yes
2012-08-14 | A-01 | EML | Total Suspended Solids | mg/L | 1 | 2 | 66.6667 | No
2012-08-15 | H-02 | EML | Copper | mg/L | 0.0091 | 0.0089 | 2.2222 | Yes
2012-08-15 | H-02 | EML | Lead | mg/L | <0.0020 | <0.0020 | ♦ | ♦
2012-08-15 | H-02 | EML | Zinc | mg/L | <0.0100 | <0.0100 | ♦ | ♦
2012-08-15 | A-11 | SES | Low Level Mercury | ng/L | 3.58 | 3.62 | 1.1111 | Yes
2012-09-04 | H-16 | SES | Cadmium | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2012-09-04 | H-16 | SES | Chromium | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2012-09-04 | H-16 | SES | Copper | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2012-09-04 | H-16 | SES | Lead | mg/l | <0.0020 | <0.0020 | ♦ | ♦
2012-09-04 | H-16 | SES | Nickel | mg/l | <0.0100 | <0.0100 | ♦ | ♦
2012-09-04 | H-16 | SES | Silver | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2012-09-04 | H-16 | SES | Zinc | mg/l | 0.0064 | 0.0053 | 18.8034 | Yes
2012-09-04 | H-16 | SES | Mercury | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2012-09-10 | A-11 | SES | Low Level Mercury | ng/L | 3.1 | 3.03 | 2.2838 | Yes
2012-10-10 | A-11 | SES | Low Level Mercury Blank | ng/L | <0.500 | <0.500 | ♦ | ♦
2012-10-22 | H-16 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2012-10-22 | H-16 | SES | Total Suspended Solids | mg/L | <5.0 | <2.52 | ♦ | ♦
2012-11-01 | G-05 | SES | Ammonia | mg/l | 0.15 | 0.23 | 42.1053 | No
2012-11-01 | G-05 | SES | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2012-11-01 | G-05 | SES | Oil & Grease | mg/l | <2.5 | <2.6 | ♦ | ♦
2012-11-01 | G-05 | EBL | Total Suspended Solids | mg/l | 1 | 1 | 0 | Yes
2012-11-08 | H-07 | EML | Total Suspended Solids | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2012-11-13 | H-02 | EML | Copper | mg/L | 0.0334 | 0.0331 | 0.90226 | Yes
2012-11-13 | H-02 | EML | Lead | mg/L | 0.0052 | 0.0055 | 5.6075 | Yes
2012-11-13 | H-02 | EML | Zinc | mg/L | 0.1824 | 0.2001 | 9.2549 | Yes
2012-11-13 | F-08 | EML | Lead | mg/L | < 0.0020 | < 0.0020 | ♦ | ♦
2012-11-13 | F-08 | EML | Zinc | mg/L | 0.049 | 0.0505 | 3.0151 | Yes
2012-11-13 | H-12 | EML | Copper | mg/L | 0.0059 | 0.006 | 1.6807 | Yes
2012-11-13 | H-12 | EML | Zinc | mg/L | 0.0226 | 0.0233 | 3.0501 | Yes
2012-11-14 | M-05 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2012-11-14 | M-05 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2012-12-11 | G-05 | SES | Ammonia | mg/l | 0.2 | 0.13 | 42.4242 | No
2012-12-11 | G-05 | SES | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2012-12-04 | G-05 | SES | Oil & Grease | mg/l | <2.7 | <2.7 | ♦ | ♦
2012-12-04 | G-05 | EBL | Total Suspended Solids | mg/l | <1.0 | <1.0 | ♦ | ♦
2012-12-12 | K-18 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2012-12-12 | L-07 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2012-12-16 | H-02 | EBL | Copper | mg/l | 0.0078 | 0.0072 | 8 | Yes
2012-12-16 | H-02 | EBL | Lead | mg/l | < 0.0020 | < 0.0020 | ♦ | ♦
2012-12-16 | H-02 | EBL | Zinc | mg/l | < 0.0100 | 0.0102 | ♦ | ♦
2012-12-19 | A-1A | SES | Trichloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2012-12-19 | A-1A | SES | Tetrachloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW