## Benchmark Sampling
This table is divided into 4 workbooks to facilitate ease of printing.
Data Table 4-9, 2013 National Pollutant Discharge Elimination System Industrial Stormwater Benchmark Monitoring Data
Outfall G-10A | Sample Date | Not sampled in 2013
Analyte | Units | Results
FEC | Col/100mL | N/A
Outfall G-21 | Sample Date | Not sampled in 2013
Analyte | Units | Results
TSS | mg/L | N/A
Outfall H-04B | Sample Date | 2013-02-07 | H-04B visual only effective 4/1/13.
Analyte | Units | Results
TSS | mg/L | 14
Outfall N-02 | Sample Date | 2013-02-07 | 2013-11-26
Analyte | Units | Results
Zn | mg/L | 0.0814 | 0.0536
Outfall N-12A | Sample Date | 2013-02-07
Analyte | Units | Results
Cu | mg/L | 0.006
Zn | mg/L | 0.0471
Outfall Z-01 | Sample Date | 2013-02-13
Analyte | Units | Results
TSS | mg/L | 14
Ammonia | mg/L | 0.14
COD | mg/L | 17
Ag | mg/L | 0
As | mg/L | 0.0025
Cd | mg/L | 5e-05
Hg | mg/L | 1e-05
Pb | mg/L | 0.001
Se | mg/L | 0.0025
Cyanide | mg/L | 0.005

## Effluent Sampling
This table is divided into 4 workbooks to facilitate ease of printing.
Data Table 4-9, 2013 National Pollutant Discharge Elimination System Industrial Stormwater Effluent Monitoring Data
Outfall H-07B | Sample Date | *
Analyte | Units | Results
pH | SU | *
H-07B is a no discharge outfall from a retention basin; pH sampling will be performed only in the event of a discharge from the basin.
*The basin did not discharge in 2013.

## Impaired Water Sampling
This table is divided into 4 workbooks to facilitate ease of printing.
Data Table 4-9, 2013 National Pollutant Discharge Elimination System Industrial Stormwater Impaired Water Monitoring Data
Outfall | Sample Date | Analyte | Result (MPN*/100mL)
B-10 | 2013-02-19 | Fecal Coliform | 13
H-05 | 2013-02-07 | Fecal Coliform | 30
H-06A | 2013-02-07 | Fecal Coliform | 110
H-07A | 2013-02-07 | Fecal Coliform | 50
N-02 | 2013-02-07 | Fecal Coliform | 300
N-15 | 2013-02-07 | Fecal Coliform | 900
Z-01 | 2013-02-13 | Fecal Coliform | 436
A-08 | 2013-11-26 | Fecal Coliform | 2420
H-06A | 2013-11-26 | Fecal Coliform | 13140
N-02 | 2013-11-26 | Fecal Coliform | 1870
*most probable number (MPN)/100mL

## Visual
This table is divided into 4 workbooks to facilitate ease of printing.
Data Table 4-9, 2013 National Pollutant Discharge Elimination System Industrial Stormwater Visual Monitoring Data
Substantially identical outfalls (i.e., identical effluents) are grouped together below. One outfall in each group is designated each April to represent the group and is sampled quartely each year. Some outfalls (e.g., A-14) do not share similar effluent characteristics to any other outfall and are sampled individually.
Sample Date
Outfall | 1Q13 |  | 2Q13 |  | 3Q13 |  |  | 4Q13
A-08 | N/A | N/A | 2013-06-05 | N/A | N/A | N/A | N/A | 2013-10-08 | 2013-11-01
L-13 | 2013-02-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
A-14 | 2013-02-07 | N/A | 2013-06-05 | N/A | N/A | N/A | N/A | 2013-11-01 | 2013-11-26
B-10 | 2013-02-07 | N/A | 2013-06-05 | N/A | N/A | N/A | N/A | 2013-10-08 | 2013-11-01
D-04 | 2013-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
D-06A | N/A | N/A | 2013-06-07 | N/A | 2013-07-24 | N/A | N/A | 2013-11-26 | N/A
D-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
E-01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
E-02 | 2013-02-11 | N/A | 2013-04-04 | N/A | N/A | N/A | N/A | N/A | N/A
E-03 | N/A | N/A | N/A | N/A | 2013-07-31 | 2013-08-15 | N/A | 2013-12-06 | N/A
E-04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
E-06 | 2013-02-11 | N/A | 2013-04-04 | N/A | 2013-07-31 | N/A | N/A | N/A | N/A
G-10A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
G-21 | 2013-02-07 | N/A | 2013-04-04 | N/A | 2013-08-15 | N/A | N/A | 2013-11-01 | N/A
H-04B | 2013-01-16 | N/A | 2013-04-19 | N/A | 2013-07-24 | N/A | N/A | 2013-11-01 | N/A
H-05 | 2013-02-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
H-06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
H-07C | N/A | N/A | 2013-04-19 | 2013-06-03 | 2013-07-24 | N/A | N/A | 2013-11-01 | N/A
H-06A | 2013-02-07 | 2013-02-19 | N/A | N/A | N/A | N/A | N/A | 2013-11-26 | N/A
H-07A | 2013-01-17 | N/A | 2Q13 | N/A | 2013-07-31 | N/A | N/A | 2013-11-01 | N/A
H-07B1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
H-08 | 2013-02-07 | N/A | 2013-06-05 | N/A | N/A | N/A | N/A | 2013-11-01 | 2013-11-26
K-02 | 2013-02-07 | N/A | 2013-04-01 | N/A | 2013-08-15 | N/A | N/A | 2013-11-26 | N/A
N-02 | 2013-01-17 | N/A | 2013-04-19 | N/A | 2013-07-31 | N/A | N/A | 2013-10-07 | N/A
C-08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
F-10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
FT-3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
N-05 | 2013-02-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
N-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
N-16 | N/A | N/A | 2013-06-25 | N/A | 2013-08-15 | N/A | N/A | 2013-11-26 | N/A
H-02A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
N-06 | N/A | N/A | 2013-04-19 | N/A | 2013-08-02 | N/A | N/A | 2013-10-07 | N/A
N-12 | 2013-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
N-12A | 2013-02-07 | N/A | 2013-04-19 | N/A | 2013-07-24 | N/A | N/A | 2013-11-01 | N/A
N-13A | 2013-02-07 | N/A | 2013-06-25 | N/A | 2013-07-24 | 2013-07-31 | 2013-08-15 | 2013-11-01 | 2013-11-26
N-15 | 2013-02-07 | N/A | 2013-04-19 | N/A | 2013-08-15 | N/A | N/A | 2013-11-01 | N/A
Y-01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Y-03 | 2013-02-07 | 2013-03-18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Y-04 | N/A | N/A | 2013-04-11 | N/A | 2013-08-15 | N/A | N/A | 2013-11-26 | N/A
Z-011 | 2013-02-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1Outfalls H-07B and Z-01 are no discharge outfalls from basins. In the unlikely event of a discharge, sampling was performed.