## NPDES Dup
Data Table 8-3, NPDES Duplicate Sample Results
EML = Environmental Monitoring Laboratory, SES = Shealy Environmental Services | [7 empty] | ♦ not calculated due to less than value
1. Field Blank (not Outfall) result
Sample Date | NPDES Site | Laboratory | Parameter | Units | Outfall Value | Duplicate Value | Relative % Difference | Relative Percent Difference (< 20 %)
2013-01-10 | A-11 | SES | Low Level Mercury Blank | ng/L | <0.51 | <0.5 | ♦ | ♦
2013-02-05 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2013-02-05 | A-01 | EML | Iron | mg/L | 0.0827 | 0.0806 | 2.572 | Yes
2013-02-04 | A-01 | SES | Oil & Grease | mg/L | <5.7 | <5.2 | ♦ | ♦
2013-02-05 | A-01 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2013-02-05 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2013-02-05 | A-11 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2013-02-21 | H-12 | EML | Copper | mg/L | 0.0068 | 0.0059 | 14.1732 | Yes
2013-02-21 | H-12 | EML | Zinc | mg/L | 0.0312 | 0.0268 | 15.1724 | Yes
2013-02-25 | H-16 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2013-02-25 | H-16 | SES | Total Suspended Solids | mg/L | 2.2 | <1.0 | ♦ | ♦
2013-03-04 | A-1A | SES | Trichloroethylene | µg/L | NO FLOW | NO FLOW | ♦ | ♦
2013-03-04 | A-1A | SES | Tetrachloroethylene | µg/L | NO FLOW | NO FLOW | ♦ | ♦
2013-04-01 | M-05 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2013-04-01 | M-05 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2013-04-09 | A-11 | SES | Low Level Mercury | ng/L | 3.05 | 3.37 | 9.9688 | Yes
2013-04-08 | H-16 | SES | Cadmium | mg/L | <0.0001 | <0.0001 | ♦ | ♦
2013-04-08 | H-16 | SES | Chromium | mg/L | <0.005 | <0.005 | ♦ | ♦
2013-04-08 | H-16 | SES | Copper | mg/L | <0.005 | <0.005 | ♦ | ♦
2013-04-08 | H-16 | SES | Lead | mg/L | <0.002 | <0.002 | ♦ | ♦
2013-04-08 | H-16 | SES | Nickel | mg/L | <0.01 | <0.01 | ♦ | ♦
2013-04-08 | H-16 | SES | Silver | mg/L | <0.005 | <0.005 | ♦ | ♦
2013-04-08 | H-16 | SES | Zinc | mg/L | 0.0057 | 0.0052 | 9.1743 | Yes
2013-04-08 | H-16 | SES | Mercury | mg/L | <0.0001 | <0.0001 | ♦ | ♦
2013-05-01 | A-1A | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2013-05-01 | A-1A | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2013-05-13 | F-08 | EML | Lead | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2013-05-13 | F-08 | EML | Zinc | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2013-05-21 | H-07 | EML | Total Suspended Solids | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2013-06-04 | M-05 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2013-06-04 | M-05 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2013-06-17 | K-18 | EML | pH | SU | 7.4 | 7.4 | 0 | Yes
2013-06-17 | L-07 | EML | pH | SU | 6.8 | 6.8 | 0 | Yes
2013-06-18 | A-11 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2013-06-18 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2013-06-18 | K-18 | EML | Total Suspended Solids | mg/L | 2 | 5 | 85.7143 | No
2013-06-18 | L-07 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2013-06-20 | H-12 | EML | Copper | mg/L | 0.0095 | 0.0082 | 14.6893 | Yes
2013-06-20 | H-12 | EML | Zinc | mg/L | 0.0254 | 0.025 | 1.5873 | Yes
2013-07-15 | A-01 | SES | Oil & Grease | mg/L | <5.3 | <5.4 | ♦ | ♦
2013-07-16 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2013-07-16 | A-01 | EML | Iron | mg/L | 0.7764 | 0.7938 | 2.2163 | Yes
2013-07-16 | A-01 | EML | Total Suspended Solids | mg/L | 2 | 2 | 0 | Yes
2013-07-16 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2013-07-16 | A-11 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2013-08-07 | A-01 | SES | Oil & Grease | mg/L | <4.8 | <4.9 | ♦ | ♦
2013-08-08 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2013-08-08 | A-01 | EML | Iron | mg/L | 0.6463 | 0.6244 | 3.4469 | Yes
2013-08-08 | A-01 | EML | Total Suspended Solids | mg/L | 3 | 3 | 0 | Yes
2013-08-13 | H-02 | EML | Copper | mg/L | 0.0076 | 0.0073 | 4.0268 | Yes
2013-08-13 | H-02 | EML | Lead | mg/L | <0.002 | <0.002 | ♦ | ♦
2013-08-13 | H-02 | EML | Zinc | mg/L | <0.01 | <0.01 | ♦ | ♦
2013-08-19 | H-16 | SES | Cadmium | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2013-08-19 | H-16 | SES | Chromium | mg/l | <0.005 | <0.005 | ♦ | ♦
2013-08-19 | H-16 | SES | Copper | mg/l | <0.005 | <0.005 | ♦ | ♦
2013-08-19 | H-16 | SES | Lead | mg/l | <0.002 | <0.002 | ♦ | ♦
2013-08-19 | H-16 | SES | Nickel | mg/l | <0.01 | <0.01 | ♦ | ♦
2013-08-19 | H-16 | SES | Silver | mg/l | <0.005 | <0.005 | ♦ | ♦
2013-08-19 | H-16 | SES | Zinc | mg/l | <0.005 | <0.005 | ♦ | ♦
2013-08-19 | H-16 | SES | Mercury | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2013-09-05 | D-01 | EML | pH | SU | 5.9 | 5.7 | 3.4483 | Yes
2013-09-05 | D-01 | EML | pH | SU | 5.9 | 5.9 | 0 | Yes
2013-09-05 | D-01 | EML | pH | SU | 5.8 | 5.5 | 5.3097 | Yes
2013-09-18 | H-02 | EML | Copper | mg/L | 0.0111 | 0.0123 | 10.2564 | Yes
2013-09-18 | H-02 | EML | Lead | mg/L | <0.0020 | <0.0020 | ♦ | ♦
2013-09-18 | H-02 | EML | Zinc | mg/L | <0.0100 | <0.0100 | ♦ | ♦
2013-10-03 | D-01 | EML | Aluminum | mg/L | 0.1453 | 0.1563 | 7.2944 | Yes
2013-10-03 | D-01 | EML | Manganese | mg/L | 0.0136 | 0.0134 | 1.4815 | Yes
2013-10-03 | D-01 | EML | pH | SU | 6.7 | 6.7 | 0 | Yes
2013-10-03 | D-01C | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2013-10-03 | D-01C | SES | Oil & Grease | mg/L | <4.7 | <4.7 | ♦ | ♦
2013-10-02 | A-11 | SES | Low Level Mercury Blank | ng/L | <0.51 | <0.5 | ♦ | ♦
2013-10-14 | F-08 | EML | Lead | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2013-10-14 | F-08 | EML | Zinc | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2013-10-16 | H-07 | EML | Total Suspended Solids | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2013-11-05 | M-05 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2013-11-05 | M-05 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2013-11-14 | A-11 | SES | Low Level Mercury | ng/L | 2.34 | 2.1 | 10.8108 | Yes
2013-12-18 | F-08 | EML | Lead | mg/L | <0.0020 | <0.0020 | ♦ | ♦
2013-12-18 | F-08 | EML | Zinc | mg/L | 0.0584 | 0.0552 | 5.6338 | Yes
2013-11-14 | H-12 | EML | Copper | mg/L | 0.0109 | 0.0109 | 0 | Yes
2013-11-14 | H-12 | EML | Zinc | mg/L | 0.0209 | 0.0208 | 0.47962 | Yes
2013-12-03 | A-1A | SES | Trichloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2013-12-03 | A-1A | SES | Tetrachloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2013-12-09 | H-16 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2013-12-09 | H-16 | SES | Total Suspended Solids | mg/L | <1.0 | <1.4 | ♦ | ♦
2013-12-12 | H-02 | EBL | Copper | mg/l | 0.007 | 0.0065 | 7.4074 | Yes
2013-12-12 | H-02 | EBL | Lead | mg/l | <0.0020 | <0.0020 | ♦ | ♦
2013-12-12 | H-02 | EBL | Zinc | mg/l | <0.0100 | <0.0100 | ♦ | ♦
2013-12-12 | K-18 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2013-12-12 | L-07 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes