## Benchmark Sampling
1 Printed Page
This table is divided into 4 workbooks to facilitate ease of printing.
NOTE: G-21 visual only effective 4/1/14.
Data Table 4-9 National Pollutant Discharge Elimination System Industrial Stormwater Benchmark Monitoring Data
Sample Measurement Section 1
2014 National Pollutant Discharge Elimination System Industrial Stormwater Benchmark Monitoring Data
| Outfall G-10A | Sample Date | Not sampled in 2014
| Analyte | Units | Results
| FEC | Col/100mL | N/A
| Outfall G-21* | Sample Date | 2014-02-26
| Analyte | Units | Results
| TSS | mg/L | 58
Outfall N-02 | Sample Date | 2014-02-26 | 2014-03-12 | 2014-04-15 | 2014-05-15
Analyte | Units | Results
Zn | mg/L | 0.0593 | 0.0716 | 0.0831 | 0.0358
| Outfall N-12A | Sample Date | 2014-05-15
| Analyte | Units | Results
| Cu | mg/L | 0.0131
| Zn | mg/L | 0.0471
| Outfall Z-01 | Sample Date | Not sampled in 2014
| Analyte | Units | Results
| TSS | mg/L | N/A
| Ammonia | mg/L | N/A
| COD | mg/L | N/A
| Ag | mg/L | N/A
| As | mg/L | N/A
| Cd | mg/L | N/A
| Hg | mg/L | N/A
| Pb | mg/L | N/A
| Se | mg/L | N/A
| Cyanide | mg/L | N/A

## Impaired Water Sampling
1 Printed Page
This table is divided into 4 workbooks to facilitate ease of printing.
NOTE: *Most probable number (MPN)/100mL
Data Table 4-9 National Pollutant Discharge Elimination System Industrial Stormwater Impaired Water Monitoring Data
Sample Measurement Section 2
2014 National Pollutant Discharge Elimination System Industrial Stormwater Impaired Water Monitoring Data
Outfall | Sample Date | Analyte | Result (MPN*/100mL)
H-04B | 2014-04-07 | Fecal Coliform | 3
H-06A | 2014-04-07 | Fecal Coliform | 8300
G-21 | 2014-04-15 | Fecal Coliform | 24
N-02 | 2014-04-15 | Fecal Coliform | 291
H-02A | 2014-05-15 | Fecal Coliform | 13760
N-15 | 2014-05-15 | Fecal Coliform | 200

## Effluent Sampling
1 Printed Page
This table is divided into 4 workbooks to facilitate ease of printing.
NOTE: H-07B is a no discharge outfall from a retention basin; pH sampling will be performed only in the event of a discharge from the basin.
NOTE: *The basin did not discharge in 2014.
Data Table 4-9 National Pollutant Discharge Elimination System Industrial Stormwater Effluent Monitoring Data
Sample Measurement Section 3
2014 National Pollutant Discharge Elimination System Industrial Stormwater Effluent Monitoring Data
| Outfall H-07B | Sample Date | *
| Analyte | Units | Results
| pH | SU | *

## Visual
1 Printed Page
This table is divided into 4 workbooks to facilitate ease of printing.
NOTE: Substantially identical outfalls (i.e., identical effluents) are grouped together below. One outfall in each group is designated each April to represent the group and is sampled quarterly each year. Some outfalls (e.g., A-14) do not share similar effluent characteristics to any other outfall and are sampled individually.
NOTE: (1) Outfalls H-07B and Z-01 are no discharge outfalls from basins. In the unlikely event of a discharge, sampling was performed.
Data Table 4-9 National Pollutant Discharge Elimination System Industrial Stormwater Visual Monitoring Data
Sample Measurement Section 4
2014 National Pollutant Discharge Elimination System Industrial Stormwater Visual Monitoring Data
Sample Date
Outfall | 1Q14 | 2Q14 |  | 3Q14 |  | 4Q14
A-08 | 2014-01-02 | N/A | N/A | N/A | N/A | N/A
L-13 | N/A | 2014-04-07 | N/A | 2014-07-21 | N/A | 2014-10-14
A-14 | 2014-01-02 | 2014-04-07 | N/A | 2014-07-10 | N/A | 2014-11-23
B-10 | 2014-01-02 | 2014-04-07 | N/A | 2014-07-10 | N/A | 2014-11-23
D-04 | N/A | N/A | N/A | N/A | N/A | N/A
D-06A | 2014-02-26 | N/A | N/A | N/A | N/A | N/A
D-07 | N/A | 2014-04-07 | N/A | 2014-08-08 | N/A | 2014-11-26
E-01 | N/A | N/A | N/A | N/A | N/A | N/A
E-02 | N/A | N/A | N/A | N/A | N/A | N/A
E-03 | 2014-02-04 | N/A | N/A | N/A | N/A | N/A
E-04 | N/A | N/A | N/A | 2014-07-21 | 2014-08-11 | N/A
E-06 | 2014-03-16 | 2014-04-18 | N/A | 2014-07-19 | N/A | 2015-11-23
G-10A | N/A | N/A | N/A | N/A | N/A | N/A
G-21 | 2014-02-12 | 2014-04-07 | N/A | 2014-07-11 | N/A | 2014-11-23
H-04B | 2014-01-11 | 2014-04-07 | N/A | 2014-07-07 | N/A | 2014-11-22
H-05 | N/A | N/A | N/A | N/A | N/A | N/A
H-06 | N/A | 2014-04-07 | N/A | 2014-07-15 | N/A | 2014-11-17
H-07C | 2014-01-11 | N/A | N/A | N/A | N/A | N/A
H-06A | 2014-02-26 | 2014-04-07 | 2014-05-15 | N/A | N/A | N/A
H-07A | 2014-01-28 | 2014-04-07 | N/A | 2014-08-09 | N/A | 2014-10-04
H-07B1 | N/A | N/A | N/A | N/A | N/A | N/A
H-08 | 2014-01-02 | N/A | N/A | 2014-06-05 | 2014-09-08 | 2014-11-23
K-02 | 2014-01-02 | 2014-04-07 | N/A | 2014-07-07 | N/A | 2014-10-29
N-02 | 2014-01-10 | 2014-04-07 | N/A | 2014-07-07 | N/A | 2014-10-14
C-08 | N/A | N/A | N/A | N/A | N/A | N/A
F-10 | N/A | N/A | N/A | 2014-06-05 | 2014-09-08 | 2014-12-22
FT-3 | N/A | N/A | N/A | N/A | N/A | N/A
N-05 | N/A | N/A | N/A | N/A | N/A | N/A
N-14 | N/A | N/A | N/A | N/A | N/A | N/A
N-16 | 2014-03-16 | 2014-04-18 | N/A | N/A | N/A | N/A
H-02A | N/A | 2014-04-07 | N/A | 2014-08-08 | N/A | 2014-11-23
N-06 | 2014-01-10 | N/A | N/A | N/A | N/A | N/A
N-12 | N/A | N/A | N/A | N/A | N/A | N/A
N-12A | 2014-01-10 | 2014-04-07 | N/A | 2014-07-25 | N/A | 2014-10-14
N-13A | 2014-01-30 | 2014-04-07 | N/A | 2014-08-09 | N/A | 2014-10-14
N-15 | 2014-01-10 | 2014-04-18 | N/A | 2014-07-25 | N/A | 2014-11-23
Y-01 | N/A | 2014-04-07 | N/A | 2014-07-12 | N/A | 2014-10-14
Y-03 | N/A | N/A | N/A | N/A | N/A | N/A
Y-04 | 2014-02-12 | N/A | N/A | N/A | N/A | N/A
Z-011 | N/A | N/A | N/A | N/A | N/A | N/A