## 2014 Blinds
3 Printed Pages
NOTE: Laboratory Acronyms - EBL = Environmental Bioassay Laboratory, SES = Shealy Environmental Services, CSWTF = Central Sanitary Wastewater Treatment Facility
NOTE: ♦ Not calculated due to less than value
NOTE: (1) Declared invalid
NOTE: (2) Split sample & split blind
Data Table 8-2 NPDES Blind Sample Results
Sample Measurement Section
2014 NPDES Blind Sample Results
Sample Date | NPDES Site | Blind Sample ID | Laboratory | Parameter | Units | Compliance Sample Value | Blind Sample Value | Relative % Difference | Relative Percent Difference (< 20 %)
2014-01-08 | A-01 | B140101 | SES | Oil & Grease | mg/l | <5.5 | <5.7 | ♦ | ♦
2014-01-09 | A-01 | B140101 | SES | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2014-01-09 | A-01 | B140101 | EBL | Iron | mg/l | 0.0641 | 0.064 | 0.15613 | Yes
2014-01-09 | A-01 | B140101 | EBL | Total Suspended Solids | mg/l | <1.0 | <1.0 | ♦ | ♦
2014-01-23 | H-02 | B140102 | EBL | Copper | mg/l | 0.0069 | 0.0063 | 9.0909 | Yes
2014-01-23 | H-02 | B140102 | EBL | Lead | mg/l | <0.0020 | <0.0020 | ♦ | ♦
2014-01-23 | H-02 | B140102 | EBL | Zinc | mg/l | <0.0100 | <0.0100 | ♦ | ♦
2014-02-03 | H-16 | B140202 | SES | Cadmium | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2014-02-03 | H-16 | B140202 | SES | Chromium | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-02-03 | H-16 | B140202 | SES | Copper | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-02-03 | H-16 | B140202 | SES | Lead | mg/l | <0.0020 | <0.0020 | ♦ | ♦
2014-02-03 | H-16 | B140202 | SES | Nickel | mg/l | <0.0100 | <0.0100 | ♦ | ♦
2014-02-03 | H-16 | B140202 | SES | Silver | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-02-03 | H-16 | B140202 | SES | Zinc | mg/l | 0.0061 | 0.0059 | 3.3333 | Yes
2014-02-03 | H-16 | B140202 | SES | Mercury | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2014-02-10 | F-08 | B140201 | EBL | Lead | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-02-10 | F-08 | B140201 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-03-04 | H-07 | B141Q01 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-03-11 | A-1A | B140301 | SES | Tetrachloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-03-11 | A-1A | B140301 | SES | Trichloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-03-11 | M-05 | B140302 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-03-11 | M-05 | B140302 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-03-20 | K-18 | B141Q02 | EBL | Total Suspended Solids | mg/l | 3 | 5 | 50 | No
2014-03-20 | L-07 | B141Q03 | EBL | Total Suspended Solids | mg/l | 2 | 2 | 0 | Yes
2014-04-01 | A-01 | B140402 | SES | Oil & Grease | mg/l | <4.0 | <4.0 | ♦ | ♦
2014-04-02 | A-01 | B140402 | SES | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2014-04-02 | A-01 | B140402 | EBL | Iron | mg/l | 0.1592 | 0.1569 | 1.4552 | Yes
2014-04-02 | A-01 | B140402 | EBL | Total Suspended Solids | mg/l | <1.0 | 1 | ♦ | ♦
2014-04-08 | A-11 | B140401 | SES | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2014-04-08 | A-11 | B140401 | EBL | Total Suspended Solids | mg/l | <1.0 | <1.0 | ♦ | ♦
2014-05-13 | H-12 | B140501 | EBL | Copper | mg/l | 0.0051 | 0.0054 | 5.7143 | Yes
2014-05-13 | H-12 | B140501 | EBL | Zinc | mg/l | 0.038 | 0.0415 | 8.805 | Yes
2014-05-27 | H-16 | B140502 | SES | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2014-05-27 | H-16 | B140502 | SES | Total Suspended Solids | mg/l | <1.0 | <1.0 | ♦ | ♦
2014-06-09 | A-1A | B140602 | SES | Trichloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-06-09 | A-1A | B140602 | SES | Tetrachloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-06-09 | M-05 | B140601 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-06-09 | M-05 | B140601 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-07-24 | F-08 | B140701 | EBL | Lead | mg/l | <0.0020 | <0.0020 | ♦ | ♦
2014-07-24 | F-08 | B140701 | EBL | Zinc | mg/l | 0.0915 | 0.0932 | 1.8408 | Yes
2014-07-09 | H-16 | B140702 | SES | Cadmium | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2014-07-09 | H-16 | B140702 | SES | Chromium | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-07-09 | H-16 | B140702 | SES | Copper | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-07-09 | H-16 | B140702 | SES | Lead | mg/l | <0.0020 | <0.0020 | ♦ | ♦
2014-07-09 | H-16 | B140702 | SES | Nickel | mg/l | <0.0100 | <0.0100 | ♦ | ♦
2014-07-09 | H-16 | B140702 | SES | Silver | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-07-09 | H-16 | B140702 | SES | Zinc | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-07-09 | H-16 | B140702 | SES | Mercury | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2014-08-13 | A-11 | B140802 | SES | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2014-08-13 | A-11 | B140802 | EBL | Total Suspended Solids | mg/l | <1.0 | <1.0 | ♦ | ♦
2014-08-19 | H-12 | B140801 | EBL | Copper | mg/l | 0.0053 | <0.0050 | ♦ | ♦
2014-08-19 | H-12 | B140801 | EBL | Zinc | mg/l | <0.0100 | 0.0132 | ♦ | ♦
2014-09-16 | F-08 | B140901 | EBL | Lead | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-09-16 | F-08 | B140901 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-09-18 | H-02 | B140902 | EBL | Copper | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-09-18 | H-02 | B140902 | EBL | Lead | mg/l | <0.0020 | <0.0020 | ♦ | ♦
2014-09-18 | H-02 | B140902 | EBL | Zinc | mg/l | <0.0100 | <0.0100 | ♦ | ♦
2014-10-02 | D-01 | B141003 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01 | B141003 | EBL | Manganese | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | B141004 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | B141004 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | B141004 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | B141004 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | B141004 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01C | B141005 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01C | B141005 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01D | B141006 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01D | B141006 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | B141007 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | B141007 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | B141007 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | B141007 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | B141007 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | B141008 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | B141008 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | B141008 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | B141008 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | B141008 | EBL | Total Residual Chlorine | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | B141008 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | B141008 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | B141009 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | B141009 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | B141009 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | B141009 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | B141009 | SES | Total Petroleum Hydrocarbons | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | B141009 | EBL | Total Residual Chlorine | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | B141009 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-06 | H-07 | B143Q01 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-07 | K-18 | B143Q02 | EBL | Total Suspended Solids | mg/l | 1 | 1 | 0 | Yes
2014-10-07 | L-07 | B143Q03 | EBL | Total Suspended Solids | mg/l | 1 | 1 | 0 | Yes
2014-10-08 | M-05 | B141002 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-10-08 | M-05 | B141002 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-10-28 | A-1A | B141001 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-10-28 | A-1A | B141001 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-11-03 | A-01 | B141102 | SES | Oil & Grease | mg/l | <5.0 | <4.7 | ♦ | ♦
2014-11-04 | A-01 | B141102 | SES | Biochemical Oxygen Demand | mg/l | 29.0 1. | <2.0 | ♦ | ♦
2014-11-04 | A-01 | B141102 | EBL | Iron | mg/l | 0.1519 | 0.1515 | 0.26368 | Yes
2014-11-04 | A-01 | B141102 | EBL | Total Suspended Solids | mg/l | 1 | 1 | 0 | Yes
2014-11-04 | A-11 | B141101 | SES | Biochemical Oxygen Demand | mg/l | 14.0 1. | <2.0 | ♦ | ♦
2014-11-04 | A-11 | B141101 | EBL | Total Suspended Solids | mg/l | <1.0 | <1.0 | ♦ | ♦
2014-11-12 | A-01 | B141105 | SES | Biochemical Oxygen Demand | mg/l | <2.0 2. | <2.0 2. | ♦ | ♦
2014-11-12 | A-11 | B141104 | SES | Biochemical Oxygen Demand | mg/l | <2.0 2. | <2.0 2. | ♦ | ♦
2014-11-19 | A-01 | B141106 | CSWTF | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2014-11-19 | H-02 | B141103 | EBL | Copper | mg/l | <0.0050 | 0.005 | ♦ | ♦
2014-11-19 | H-02 | B141103 | EBL | Lead | mg/l | <0.0020 | <0.0020 | ♦ | ♦
2014-11-19 | H-02 | B141103 | EBL | Zinc | mg/l | <0.0100 | <0.0100 | ♦ | ♦
2014-12-01 | H-16 | B141201 | CSWTF | Biochemical Oxygen Demand | mg/l | <2.0 | <2.0 | ♦ | ♦
2014-12-01 | H-16 | B141201 | SES | Total Suspended Solids | mg/l | <1.0 | <1.0 | ♦ | ♦
2014-12-02 | H-12 | B141202 | EBL | Copper | mg/l | <0.0050 | <0.0050 | ♦ | ♦
2014-12-02 | H-12 | B141202 | EBL | Zinc | mg/l | 0.0253 | 0.023 | 9.5238 | Yes
2014-12-04 | D-01 | B141203 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01 | B141203 | EBL | Manganese | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | B141204 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | B141204 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | B141204 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | B141204 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | B141204 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01C | B141205 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01C | B141205 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01D | B141206 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01D | B141206 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | B141208 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | B141208 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | B141208 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | B141208 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | B141208 | EBL | Total Residual Chlorine | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | B141208 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | B141208 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | B141209 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | B141209 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | B141209 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | B141209 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | B141209 | SES | Total Petroleum Hydrocarbons | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | B141209 | EBL | Total Residual Chlorine | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | B141209 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW