## NPDES Dup
4 Printed Pages
NOTE: Laboratory Acronyms - EBL = Environmental Bioassay Laboratory, SES = Shealy Environmental Services
NOTE: ♦ Not calculated due to less than value
NOTE: (1) Field Blank (not Outfall) result
Data Table 8-3 NPDES Duplicate Sample Results
Sample Measurement Section
2014 NPDES Duplicate Sample Results
Sample Date | NPDES Site | Laboratory | Parameter | Units | Outfall Value | Duplicate Value | Relative % Difference | Relative Percent Difference (< 20 %)
2014-01-06 | H-16 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2014-01-06 | H-16 | SES | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2014-01-09 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2014-01-09 | A-11 | EBL | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2014-02-11 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2014-02-11 | A-01 | EBL | Iron | mg/L | 0.0966 | 0.0944 | 2.3037 | Yes
2014-02-10 | A-01 | SES | Oil & Grease | mg/L | <4.0 | <4.0 | ♦ | ♦
2014-02-11 | A-01 | EBL | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2014-02-11 | H-12 | EBL | Copper | mg/L | 0.0086 | 0.0081 | 5.988 | Yes
2014-02-11 | H-12 | EBL | Zinc | mg/L | 0.0569 | 0.0564 | 0.88261 | Yes
2014-03-11 | A-1A | SES | Trichloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-03-11 | A-1A | SES | Tetrachloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-03-11 | A-11 | SES | Low Level Mercury | ng/L | 3.04 | 3.19 | 4.8154 | Yes
2014-03-11 | M-05 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-03-11 | M-05 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-03-19 | K-18 | EBL | pH | SU | 6.9 | 6.9 | 0 | Yes
2014-03-19 | L-07 | EBL | pH | SU | 7 | 7 | 0 | Yes
2014-04-15 | H-16 | SES | Cadmium | mg/L | <0.0001 | <0.0001 | ♦ | ♦
2014-04-15 | H-16 | SES | Chromium | mg/L | <0.005 | <0.005 | ♦ | ♦
2014-04-15 | H-16 | SES | Copper | mg/L | <0.005 | <0.005 | ♦ | ♦
2014-04-15 | H-16 | SES | Lead | mg/L | <0.002 | <0.002 | ♦ | ♦
2014-04-15 | H-16 | SES | Nickel | mg/L | <0.01 | <0.01 | ♦ | ♦
2014-04-15 | H-16 | SES | Silver | mg/L | <0.005 | <0.005 | ♦ | ♦
2014-04-15 | H-16 | SES | Zinc | mg/L | <0.005 | <0.005 | ♦ | ♦
2014-04-15 | H-16 | SES | Mercury | mg/L | <0.0001 | <0.0001 | ♦ | ♦
2014-05-06 | A-1A | SES | Trichloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-05-06 | A-1A | SES | Tetrachloroethylene | µg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-05-12 | A-11 | SES | Low Level Mercury Blank | ng/L | <0.51 | <0.5 | ♦ | ♦
2014-05-12 | F-08 | EBL | Lead | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-05-12 | F-08 | EBL | Zinc | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-06-03 | A-11 | EBL | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2014-06-03 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2014-06-04 | K-18 | EBL | pH | SU | 6.8 | 7 | 2.8986 | Yes
2014-06-05 | K-18 | EBL | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2014-06-04 | L-07 | EBL | pH | SU | 6.9 | 7.1 | 2.8571 | Yes
2014-06-05 | L-07 | EBL | Total Suspended Solids | mg/L | <1.0 | 1 | ♦ | ♦
2014-06-05 | H-07 | EBL | Total Suspended Solids | mg/L | 9 | 10 | 10.5263 | Yes
2014-06-09 | M-05 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-06-09 | M-05 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-06-10 | H-12 | EBL | Copper | mg/L | 0.0062 | 0.0061 | 1.626 | Yes
2014-06-10 | H-12 | EBL | Zinc | mg/L | 0.0175 | 0.0178 | 1.6997 | Yes
2014-07-22 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2014-07-22 | A-01 | EBL | Iron | mg/L | 0.9535 | 1.0017 | 4.9304 | Yes
2014-07-21 | A-01 | SES | Oil & Grease | mg/L | <4.0 | <4.0 | ♦ | ♦
2014-07-22 | A-01 | EBL | Total Suspended Solids | mg/L | 5 | 5 | 0 | Yes
2014-07-22 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2014-07-22 | A-11 | EBL | Total Suspended Solids | mg/L | <1.0 | 0 | ♦ | ♦
2014-08-11 | H-16 | SES | Cadmium | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2014-08-11 | H-16 | SES | Chromium | mg/l | <0.005 | <0.005 | ♦ | ♦
2014-08-11 | H-16 | SES | Copper | mg/l | <0.005 | <0.005 | ♦ | ♦
2014-08-11 | H-16 | SES | Lead | mg/l | <0.002 | <0.002 | ♦ | ♦
2014-08-11 | H-16 | SES | Nickel | mg/l | <0.01 | <0.01 | ♦ | ♦
2014-08-11 | H-16 | SES | Silver | mg/l | <0.005 | <0.005 | ♦ | ♦
2014-08-11 | H-16 | SES | Zinc | mg/l | 0.0064 | 0.0063 | 1.5748 | Yes
2014-08-11 | H-16 | SES | Mercury | mg/l | <0.0001 | <0.0001 | ♦ | ♦
2014-08-13 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2014-08-13 | A-01 | EBL | Iron | mg/L | 0.4572 | 0.4319 | 5.6911 | Yes
2014-08-13 | A-01 | SES | Oil & Grease | mg/L | <5.0 | <5.3 | ♦ | ♦
2014-08-13 | A-01 | EBL | Total Suspended Solids | mg/L | 4 | 2 | 66.6667 | No
2014-08-19 | H-02 | EBL | Copper | mg/L | <0.005 | <0.005 | ♦ | ♦
2014-08-19 | H-02 | EBL | Lead | mg/L | <0.002 | <0.002 | ♦ | ♦
2014-08-19 | H-02 | EBL | Zinc | mg/L | <0.0100 | 0.0133 | ♦ | ♦
2014-09-15 | K-18 | EBL | pH | SU | 6.6 | 6.6 | 0 | Yes
2014-09-15 | L-07 | EBL | pH | SU | 7.3 | 7.4 | 1.3605 | Yes
2014-09-18 | H-02 | EBL | Copper | mg/l | <0.005 | <0.005 | ♦ | ♦
2014-09-18 | H-02 | EBL | Lead | mg/l | <0.002 | <0.002 | ♦ | ♦
2014-09-18 | H-02 | EBL | Zinc | mg/l | <0.0100 | <0.0100 | ♦ | ♦
2014-10-02 | D-01 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01 | EBL | Manganese | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01B | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01C | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01C | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01D | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-01D | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-02 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | EBL | Total Residual Chlorine | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-03 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | SES | Total Petroleum Hydrocarbons | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | EBL | Total Residual Chlorine | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-02 | D-06 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-06 | H-07 | EBL | Total Suspended Solids | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-10-06 | K-18 | EBL | pH | SU | 6.9 | 6.8 | 1.4599 | Yes
2014-10-06 | L-07 | EBL | pH | SU | 7.1 | 7.1 | 0 | Yes
2014-10-07 | K-18 | EBL | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2014-10-07 | L-07 | EBL | Total Suspended Solids | mg/L | 1 | 1 | 0 | Yes
2014-10-08 | A-11 | SES | Low Level Mercury Blank | ng/L | < 0.51 | < 0.5 | ♦ | ♦
2014-11-03 | A-11 | SES | Low Level Mercury | ng/L | 8.04 | 8.3 | 3.1824 | Yes
2014-11-04 | M-05 | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-11-04 | M-05 | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-11-10 | H-16 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 | ♦ | ♦
2014-11-10 | H-16 | SES | Total Suspended Solids | mg/L | <1.0 | <1.0 | ♦ | ♦
2014-11-19 | F-08 | EBL | Lead | mg/L | <0.002 | <0.002 | ♦ | ♦
2014-11-19 | F-08 | EBL | Zinc | mg/L | 0.0361 | 0.0386 | 6.6934 | Yes
2014-12-02 | H-02 | EBL | Copper | mg/L | 0.0051 | 0.005 | 1.9802 | Yes
2014-12-02 | H-02 | EBL | Lead | mg/L | <0.0020 | <0.0020 | ♦ | ♦
2014-12-02 | H-02 | EBL | Zinc | mg/L | <0.0100 | <0.0100 | ♦ | ♦
2014-12-02 | H-12 | EBL | Copper | mg/L | <0.0050 | <0.0050 | ♦ | ♦
2014-12-02 | H-12 | EBL | Zinc | mg/L | 0.0253 | 0.0251 | 0.79365 | Yes
2014-12-04 | D-01 | EBL | Aluminum | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01 | EBL | Manganese | mg/L | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01B | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01C | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01C | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01D | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-01D | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | EBL | Total Residual Chlorine | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-03 | EBL | Zinc | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | EBL | Aluminum | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | EBL | Copper | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | EBL | Nickel | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | SES | Oil & Grease | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | SES | Total Petroleum Hydrocarbons | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | EBL | Total Residual Chlorine | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-04 | D-06 | EBL | Total Suspended Solids | mg/l | NO FLOW | NO FLOW | NO FLOW | NO FLOW
2014-12-01 | A-1A | SES | Trichloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦
2014-12-01 | A-1A | SES | Tetrachloroethylene | µg/L | <2.0 | <2.0 | ♦ | ♦